New Rochelle Sludge Description 4-2015

John,

I have examined the “Industrial Users” in the two POTWs that contribute to the sludge cake that you haul   and have come up with the following:

The New Rochelle WWTP had an average daily flow in 2013 of  12.8 MGD (12,800,000 gal/d).  It had a non-domestic contribution of 7500 gal/d from Eric Turner Platers.  This yields an non-domestic flow contribution of 0.06% of New Rochelle’s flow.  This industry is in the Westchester County Industrial Pretreatment Program and is in compliance with all Federal and Local Limitations.

The Mamaroneck WWTP had an average daily flow in 2013 of  12.2 MGD (12,200,000 gal/d).  It had a non-domestic contribution of 7200 gal/d from Marval Industries(Solids and BOD). Alta Metals(Just soapy water) and Electro Plating Inc  < 10 gal/day).  This yields an non-domestic flow contribution of 0.06% of New Rochelle’s flow.  This industry is in the Westchester County Industrial Pretreatment Program and is in compliance with all Federal and Local Limitations.

I hope this satisfies your requirements.

If not give a yell

Bob